| Software | Version | Purpose | Download Link | License |
| --- | --- | --- | --- | --- |
| Siemens |  |  |  |  |
| Siemens TIA-Portal | v.15.1 | Programming software for Siemens PLCs | Link (DVD 1 - 2) | required |
| Siemens WinCC Advanced | v.15.1 | Programming software for Siemens HMIs | Link (DVD 3) | required |
| Siemens TIA-Portal | v.17 Update 2 | Programming software for Siemens PLCs | Link (DVD 1 - 2) and Link | required |
| Siemens WinCC Advanced | v.17 Update 2 | Programming software for Siemens HMIs | Link (DVD 3) Link | required |
| Siemens S7 PCT-Tool | V3.5 SP3 Update 2 | IO-Link modules configuration tool | Link | - |
| Siemens PRONETA | v. 3.5 | Commissioning and diagnostics tool for PROFINET | Link | - |
| Festo |  |  |  |  |
| FactoryViews | v.1.7.0 | Factory management software suite - MES4 - Webshop - Energy - AR - Node-RED | Link | required (MES4 V3, Webshop, Energy) |
| CIROS | v.7.3.3 | Simulation software - Digital twin - Digital shadow | Link | required (CIROS 7 Studio, CIROS CP System) |
| Festo Field Device Tool | v.2.10.5.198 | Configuration tool for Festo controller - change network settings - backup/ restore image files | Link | - |
| IoT Gateway Signature File | v.2.1.0 | IoT Gateway configuration file | Link | - |
| Open-source/free software |  |  |  |  |
| CODESYS | v.3.5 SP16 Patch 4 | Programming software for Festo PLCs | Link | - |
| CODESYS TSP for CECC | v.3.5.15.282 | Target Support Package for Festo PLC | Link | - |
| Wireshark | v. 4.0.5 | Ethernet communication monitoring software | Link | - |
| NMAP | v.7.93 | Security Scanner | Link | - |
| HeidiSQL portable | v.12.4 | MariaDB/MySQL database client admin tool | Link | - |
| hMailServer | v.5.6.8 | E-mail Server | Link | - |
| hMailServer configuration | v.5.6.8 | E-mail Server configuration backup festo.systems domain | Link | - |
| Thunderbird portable | v.102.10.1 | E-mail Client | Link | - |
| Hercules SETUP utility | v.3.2.8 | Communication Scanner | Link | - |
| UaExpert | v.1.6.3 | OPC UA Client | Link | - (Registration required) |
| Microsoft Edge | v. > 112 | Preferred web browser | Link | - |
| Recommended tools |  |  |  |  |
| Office | Any |  |  |  |
| PDF reader | Any |  |  |  |
| PDF printer | Any |  |  |  |
| Snapshot Tool | Any |  |  |  |